## Differential Pressure System
Differential Pressure System
Model Selection Guide
HT-CN-07-10 Issue 1 | [5 empty] | Rev 1
Special Features
Instructions
Select the desired Key Number. The arrow to the right marks the selections available.
Make one selection each from Tables I through III using the column below the proper arrow.
A dot ( ● ) denotes unrestricted availability. A letter denotes restricted availability.
Key Numbers |  |  |  | I
DPS _ |  | - | _ _ _ _ _ _ _ _ _ _ _ _
KEY NUMBER
Description | [7 empty] | Selection |  | Availability
Model |  |  | Actuator |  |  |  |  | DPSC |  | ↓
|  |  | VFD |  |  |  |  | DPSV |  |  | ↓
[10 empty] | DPSC | DPSV
Table I
Enclosure |  |  | Less Enclosure |  |  |  |  | X _ _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | DPS300B Enclosure Assembly |  |  |  |  | Y _ _ _ _ _ _ _ _ _ _ _ |  | ● | ●
Transmitter Range |  |  | 0 To 1 In WC Linear Output |  |  |  |  | _ A _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | 0 To 3 In WC Linear Output |  |  |  |  | _ B _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | 0 To 5 In WC Linear Output |  |  |  |  | _ C _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | -0.5 To +0.5 In WC Linear Output |  |  |  |  | _ D _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | -0.2 To +0.2 In WC Linear Output |  |  |  |  | _ E _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | -1.0 To +1.0 In WC Linear Output |  |  |  |  | _ F _ _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | 0 To 10 In WC Linear Output |  |  |  |  | _ G _ _ _ _ _ _ _ _ _ _ |  | ● | ●
Transmitter |  |  | 0 To 1 In WC Linear Output |  |  |  |  | _ _ A _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | 0 To 3 In WC Linear Output |  |  |  |  | _ _ B _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | 0 To 5 In WC Linear Output |  |  |  |  | _ _ C _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | -0.5 To +0.5 In WC Linear Output |  |  |  |  | _ _ D _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | -0.2 To +0.2 In WC Linear Output |  |  |  |  | _ _ E _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | -1.0 To +1.0 In WC Linear Output |  |  |  |  | _ _ F _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | 0 To 10 In WC Linear Output |  |  |  |  | _ _ G _ _ _ _ _ _ _ _ _ |  | ● | ●
|  |  | Less Transmitter |  |  |  |  | _ _ X _ _ _ _ _ _ _ _ _ |  | ● | ●
Transmitter Cable |  |  | Less Transmitter Cable |  |  |  |  | _ _ _ 00 _ _ _ _ _ _ _ |  | ● | ●
|  |  | 100Ft Transmitter Cable |  |  |  |  | _ _ _ 10 _ _ _ _ _ _ _ |  | ● | ●
|  |  | 150Ft Transmitter Cable |  |  |  |  | _ _ _ 15 _ _ _ _ _ _ _ |  | ● | ●
|  |  | 200Ft Transmitter Cable |  |  |  |  | _ _ _ 20 _ _ _ _ _ _ _ |  | ● | ●
|  |  | 250Ft Transmitter Cable |  |  |  |  | _ _ _ 25 _ _ _ _ _ _ _ |  | ● | ●
|  |  | 300Ft Transmitter Cable |  |  |  |  | _ _ _ 30 _ _ _ _ _ _ _ |  | ● | ●
Manifold Kit |  |  | Less Manifold Kit |  |  |  |  | _ _ _ _ _ X _ _ _ _ _ _ |  | ● | ●
|  |  | DPS300B Manifold Kit |  |  |  |  | _ _ _ _ _ Y _ _ _ _ _ _ |  | ● | ●
Actuator |  |  | Honeywell 150 In -Lb Control Motor |  |  |  |  | _ _ _ _ _ _ A _ _ _ _ _ |  | ●
|  |  | B-C 550 In -Lb Control Motor |  |  |  |  | _ _ _ _ _ _ B _ _ _ _ _ |  | ●
|  |  | B-C 1100 In -Lb Control Motor |  |  |  |  | _ _ _ _ _ _ C _ _ _ _ _ |  | ●
|  |  | Duff-Norton 6 In Strk-1500Lb Act |  |  |  |  | _ _ _ _ _ _ D _ _ _ _ _ |  | ●
|  |  | Less Actuator |  |  |  |  | _ _ _ _ _ _ X _ _ _ _ _ |  | ● | ●
Actuator Cable |  |  | Less Actuator Cable |  |  |  |  | _ _ _ _ _ _ _ 00 _ _ _ |  | ● | ●
|  |  | 100Ft Control Motor Cable |  |  |  |  | _ _ _ _ _ _ _ 10 _ _ _ |  | ●
|  |  | 150Ft Control Motor Cable |  |  |  |  | _ _ _ _ _ _ _ 15 _ _ _ |  | ●
|  |  | 200Ft Control Motor Cable |  |  |  |  | _ _ _ _ _ _ _ 20 _ _ _ |  | ●
|  |  | 250Ft Control Motor Cable |  |  |  |  | _ _ _ _ _ _ _ 25 _ _ _ |  | ●
|  |  | 300Ft Control Motor Cable |  |  |  |  | _ _ _ _ _ _ _ 30 _ _ _ |  | ●
Variable Frequency Drive |  |  | No VFD, Control Selected |  |  |  |  | _ _ _ _ _ _ _ _ _ X _ _ |  | ●
|  |  | Variable Frequency Drive 4-20M |  |  |  |  | _ _ _ _ _ _ _ _ _ Y _ _ |  |  | ●
VFD Cable |  |  | No VFD, Control Selected |  |  |  |  | _ _ _ _ _ _ _ _ _ _ 00 |  | ●
|  |  | 100Ft VFD Transmitter Cable |  |  |  |  | _ _ _ _ _ _ _ _ _ _ 10 |  |  | ●
|  |  | 150Ft VFD Transmitter Cable |  |  |  |  | _ _ _ _ _ _ _ _ _ _ 15 |  |  | ●
|  |  | 200Ft VFD Transmitter Cable |  |  |  |  | _ _ _ _ _ _ _ _ _ _ 20 |  |  | ●
|  |  | 250Ft VFD Transmitter Cable |  |  |  |  | _ _ _ _ _ _ _ _ _ _ 25 |  |  | ●
|  |  | 300Ft VFD Transmitter Cable |  |  |  |  | _ _ _ _ _ _ _ _ _ _ 30 |  |  | ●
|  |  | Less VFD Cable |  |  |  |  | _ _ _ _ _ _ _ _ _ _ XX |  |  | ●
How to Read the Restriction Logic Table:
Dotted lines = OR logic
Spaces within a restriction letter indicate AND logic
Example: Here you can only select something with an ‘h’ in the availability columns if:
you select option 1 in table 1.2,
OR option A in table 1.1 AND option 2 in table 1.2,
OR B, C, or D in Table 1.1 AND option 4 in table 1.2
| h | 1.2 |  |  | 1
|  | 1.1 |  |  | A
|  | 1.2 |  |  | 2
|  | 1.1 |  |  | B,C,D
|  | 1.2 |  |  | 4
RESTRICTIONS/NOTES
Restriction |  | Available Only With |  |  |  |  | Not Available With
Letter |  | Table |  |  | Selection |  | Table |  | Selection
| a | one selection from the group to be selected